## Table 1
RADON MONITORING REPORT
Description of the measurement The measurement was performed with a closed alpha-track detector (Radtrak²®/Radtrak³®) following the quality guidance given in CNRPP- AL-DF-v6. The detector(s) arrived to Radonova Laboratories 2025-02-18. They were measured 2025-02-21.
DETECTOR MEASUREMENT PERIOD DESCRIPTION / LOCATION FLOOR RADON RESULT | [12 empty] | SITE
100 513 746 [Radtrak³®] 2024-02-16 – 2025-02-11 B-124, Cabinet Above Sink First ﬂoor 61 ± 8 Bq/m³ | [11 empty] | Pass | JVH
100 584 390 |  | [Radtrak³®] | 2024-02-16 |  | – 2025-02-11 |  |  |  | C-115, Above Sink | First ﬂoor | 49 ± 6 Bq/m³ | Pass | JVH
102 823 309 |  | [Radtrak³®] | 2024-02-16 |  | – 2025-02-11 |  |  |  | B-126, Shelf above Sink | First ﬂoor | 47 ± 6 Bq/m³ | Pass | JVH
103 012 282 |  | [Radtrak³®] | 2024-02-16 |  | – 2025-02-11 |  |  |  | D-102, Ledge above whiteboard | First ﬂoor | 72 ± 10 Bq/m³ | Pass | JVH
102 166 147 |  | [Radtrak³®] | 2024-02-16 |  | – 2025-02-11 |  |  |  | Library, Shelf behind Desk | First ﬂoor | 56 ± 6 Bq/m³ | Pass | JVH
103 203 022 |  | [Radtrak³®] | 2024-02-16 |  | – 2025-02-11 |  |  |  | D-105, Cabinet Above Sink | First ﬂoor | 44 ± 6 Bq/m³ | Pass | JVH
103 274 015 |  | [Radtrak³®] | 2024-02-16 |  | – 2025-02-11 |  |  |  | C-107, Shelf above Desk | First ﬂoor | 51 ± 6 Bq/m³ | Pass | JVH
103 222 444 |  | [Radtrak³®] | 2024-02-16 |  | – 2025-02-11 |  |  |  | B-124, Cabinet above sink | First ﬂoor | 49 ± 6 Bq/m³ | Pass | JVH
101 244 374 |  | [Radtrak³®] | 2024-02-16 |  | – 2025-02-11 |  |  |  | D-102, Cabinet behind desk | First ﬂoor | 78 ± 10 Bq/m³ | Pass | JVH
DETECTOR |  |  | MEASUREMENT PERIOD | [5 empty] | DESCRIPTION / LOCATION | FLOOR | RADON RESULT
100 654 946 [Radtrak³®] |  |  | 2024-02-16 – 2025-02-11 | [5 empty] | C-109, Above Sink | First ﬂoor | 63 ± 8 Bq/m³ | Pass | JVH
104 731 641 |  | [Radtrak³®] | 2024-02-16 |  |  |  | – 2025-02-11 |  | D-107, Ledge above Desk | First ﬂoor | 53 ± 6 Bq/m³ | Pass | JVH
100 713 999 |  | [Radtrak³®] | 2024-02-16 |  |  |  | – 2025-02-11 |  | D-115, Shelf above sink | First ﬂoor | 58 ± 8 Bq/m³ | Pass | JVH
103 755 070 |  | [Radtrak³®] | 2024-02-16 |  |  |  | – 2025-02-11 |  | B-111, Above lockers | First ﬂoor | 63 ± 8 Bq/m³ | Pass | JVH
103 952 867 |  | [Radtrak³®] | 2024-02-16 |  |  |  | – 2025-02-11 |  | C-108, Above Sink Ledge | First ﬂoor | 50 ± 6 Bq/m³ | Pass | JVH
100 388 156 |  | [Radtrak³®] | 2024-02-27 |  |  |  | – 2025-02-11 |  | 102, Ledge | First ﬂoor | 39 ± 6 Bq/m³ | Pass | NOP
103 467 387 |  | [Radtrak³®] | 2024-02-27 |  |  |  | – 2025-02-11 |  | 125, Above Desk | First ﬂoor | 144 ± 16 Bq/m³ | Pass | NOP
104 044 318 |  | [Radtrak³®] | 2024-02-27 |  |  |  | – 2025-02-11 |  | 110, Back Desk | First ﬂoor | 38 ± 6 Bq/m³ | Pass | NOP
100 283 522 |  | [Radtrak³®] | 2024-02-27 |  |  |  | – 2025-02-11 |  | 101, On Cabinet | First ﬂoor | 42 ± 6 Bq/m³ | Pass | NOP
103 312 922 |  | [Radtrak³®] | 2024-02-27 |  |  |  | – 2025-02-11 |  | 123, Back Shelf | First ﬂoor | 37 ± 6 Bq/m³ | Pass | NOP
103 414 181 |  | [Radtrak³®] | 2024-02-27 |  |  |  | – 2025-02-11 |  | 111, Back Cabinet | First ﬂoor | 24 ± 4 Bq/m³ | Pass | NOP
DETECTOR |  |  | MEASUREMENT PERIOD |  |  |  |  | DESCRIPTION / LOCATION |  | FLOOR | RADON RESULT
103 637 419 [Radtrak³®] |  |  | 2024-02-27 – 2025-02-11 |  |  |  |  | 115-A, By Desk |  | First ﬂoor | 67 ± 8 Bq/m³ | Pass | NOP
103 508 388 |  | [Radtrak³®] | 2024-02-27 | – 2025-02-11 |  |  |  | 105, Behind door |  | First ﬂoor | 41 ± 6 Bq/m³ | Pass | NOP
100 613 413 |  | [Radtrak³®] | 2024-02-27 | – 2025-02-11 |  |  |  | 109, By Desk |  | First ﬂoor | 43 ± 6 Bq/m³ | Pass | NOP
103 662 573 |  | [Radtrak³®] | 2024-02-27 | – 2025-02-11 |  |  |  | Basement, Under Stairs |  | Basement | 176 ± 20 Bq/m³ | Pass | NOP
102 519 055 |  | [Radtrak³®] | 2024-02-27 | – 2025-02-11 |  |  |  | 126, By Desk |  | First ﬂoor | 79 ± 10 Bq/m³ | Pass | NOP
104 196 654 |  | [Radtrak³®] | 2024-02-27 | – 2025-02-11 |  |  |  | 115-B, Shelf Behind Door |  | First ﬂoor | 39 ± 6 Bq/m³ | Pass | NOP
103 517 322 |  | [Radtrak³®] | 2024-02-28 | – 2025-02-11 |  |  |  | 115, top of electrical panel |  | Basement | 42 ± 6 Bq/m³ | Pass | LVR
104 735 667 |  | [Radtrak³®] | 2024-02-28 | – 2025-02-11 |  |  |  | Tech Lab 404, By Clock |  | Third ﬂoor | 34 ± 6 Bq/m³ | Pass | LVR
102 352 010 |  | [Radtrak³®] | 2024-02-28 | – 2025-02-11 |  |  |  | Tech Lab 404, Cabinet |  | Third ﬂoor | 23 ± 4 Bq/m³ | Pass | LVR
103 240 461 |  | [Radtrak³®] | 2024-02-28 | – 2025-02-11 |  |  |  | 300, Beside Cabinet |  | Second ﬂoor | 21 ± 4 Bq/m³ | Pass | LVR
103 227 708 |  | [Radtrak³®] | 2024-02-28 | – 2025-02-11 |  |  |  | Workshop Level 012, Hanging from ceiling |  | Ground ﬂoor | 29 ± 4 Bq/m³ | Pass | LVR
103 734 000 |  | [Radtrak³®] | 2024-02-28 | – 2025-02-11 |  |  |  | Workshop Level 013, Shelf |  | Ground ﬂoor | 28 ± 4 Bq/m³ | Pass | LVR
DETECTOR |  |  | MEASUREMENT PERIOD | [5 empty] | DESCRIPTION / LOCATION | FLOOR | RADON RESULT
103 098 653 [Radtrak³®] |  |  | 2024-02-28 – 2025-02-11 | [5 empty] | 112, Hanging from ceiling | Basement | 34 ± 4 Bq/m³ | Pass | LVR
102 788 528 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 226, Left Speaker Shelf | Second ﬂoor | 42 ± 6 Bq/m³ | Pass | LVR
105 022 354 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 115, On top of cabinet | Basement | 40 ± 6 Bq/m³ | Pass | LVR
104 727 631 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 106, Hanging from Ceiling | Basement | 56 ± 8 Bq/m³ | Pass | LVR
100 539 618 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 109, On top of locking cabinet | Basement | 31 ± 4 Bq/m³ | Pass | LVR
100 667 955 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | Oﬃce 213, Cabinet | Second ﬂoor | 24 ± 4 Bq/m³ | Pass | LVR
103 882 619 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 311, By projector | Third ﬂoor | 18 ± 4 Bq/m³ | Pass | LVR
103 230 629 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 202, hanging from ceiling | Second ﬂoor | 22 ± 4 Bq/m³ | Pass | LVR
100 572 486 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 105, By White Board | Basement | 28 ± 6 Bq/m³ | Pass | LVR
104 722 681 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 319, By Projector | Third ﬂoor | 33 ± 6 Bq/m³ | Pass | LVR
100 689 082 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 103, Shelf in Main Room | Basement | 30 ± 4 Bq/m³ | Pass | LVR
103 689 337 |  | [Radtrak³®] | 2024-02-28 |  | – 2025-02-11 |  |  |  | 102, Top of White Board | Basement | 31 ± 8 Bq/m³ | Pass | LVR
DETECTOR |  |  | MEASUREMENT PERIOD | [5 empty] | DESCRIPTION / LOCATION | FLOOR | RADON RESULT
100 670 173 [Radtrak³®] |  |  | 2024-02-29 – 2025-02-11 | [5 empty] | 130, Ceiling | First ﬂoor | 31 ± 4 Bq/m³ | Pass | RES
104 741 780 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 116, By Projector | First ﬂoor | 17 ± 4 Bq/m³ | Pass | RES
100 657 766 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 130, Ceiling | First ﬂoor | 32 ± 4 Bq/m³ | Pass | RES
100 687 425 |  | [Radtrak³®] | 2025-01-29 |  |  |  | – 2025-02-11 |  | 101, Ceiling | First ﬂoor | 830 ± 150 Bq/m³ | Fail | NOTE
100 575 976 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 118, Ceiling | First ﬂoor | 20 ± 4 Bq/m³ | Pass | RES
100 667 237 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 119, Ceiling | First ﬂoor | 21 ± 4 Bq/m³ | Pass | RES
103 773 875 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 119, Ceiling | First ﬂoor | 14 ± 4 Bq/m³ | Pass | RES
102 109 030 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 102B, Ceiling | First ﬂoor | 28 ± 4 Bq/m³ | Pass | RES
100 672 096 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 117 Oﬃce, PA Shelf | First ﬂoor | 27 ± 4 Bq/m³ | Pass | RES
101 232 361 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 102 C Med Room, Ceiling | First ﬂoor | 30 ± 4 Bq/m³ | Pass | RES
103 084 422 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 118 A, Ceiling | First ﬂoor | 17 ± 4 Bq/m³ | Pass | RES
102 749 785 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 129, Ceiling | First ﬂoor | 31 ± 4 Bq/m³ | Pass | RES
DETECTOR MEASUREMENT PERIOD DESCRIPTION / LOCATION FLOOR RADON RESULT
102 446 382 [Radtrak³®] 2024-02-29 – 2025-02-11 114, Ceiling First ﬂoor 19 ± 4 Bq/m³ | [11 empty] | Pass | RES
104 698 410 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 116, Ceiling | First ﬂoor | 51 ± 6 Bq/m³ | Pass | BES
100 884 949 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 114 Oﬃce, Cabinet by Desk | First ﬂoor | 58 ± 8 Bq/m³ | Pass | BES
101 229 680 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 114 Oﬃce, Cabinet | First ﬂoor | 68 ± 8 Bq/m³ | Pass | BES
104 666 151 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 120 Learning Room, Ceiling | First ﬂoor | 42 ± 6 Bq/m³ | Pass | BES
103 020 913 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 103, Ceiling | First ﬂoor | 62 ± 8 Bq/m³ | Pass | BES
104 140 108 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 115, Ceiling | First ﬂoor | 63 ± 8 Bq/m³ | Pass | BES
102 587 144 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 102, Ceiling | First ﬂoor | 61 ± 8 Bq/m³ | Pass | BES
103 021 101 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 119, Ceiling | First ﬂoor | 42 ± 6 Bq/m³ | Pass | BES
100 125 145 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 100, Ceiling | First ﬂoor | 71 ± 10 Bq/m³ | Pass | BES
100 563 022 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 116, Ceiling | First ﬂoor | 48 ± 6 Bq/m³ | Pass | BES
100 372 358 |  | [Radtrak³®] | 2024-02-29 |  |  |  | – 2025-02-11 |  | 101, Ceiling | First ﬂoor | 71 ± 10 Bq/m³ | Pass | BES
DETECTOR |  |  | MEASUREMENT PERIOD | [5 empty] | DESCRIPTION / LOCATION | FLOOR | RADON RESULT
101 109 668 [Radtrak³®] |  |  | 2024-03-01 – 2025-02-11 | [5 empty] | Room 3, Ceiling | First ﬂoor | 40 ± 6 Bq/m³ | Pass | CEC
103 060 091 |  | [Radtrak³®] | 2024-03-01 |  |  | – 2025-02-11 |  |  | Room 6, Cupboard | First ﬂoor | 16 ± 4 Bq/m³ | Pass | CEC
103 004 545 |  | [Radtrak³®] | 2024-03-01 |  |  | – 2025-02-11 |  |  | Tech Room main area, Ceiling | Basement | 61 ± 8 Bq/m³ | Pass | CEC
104 512 694 |  | [Radtrak³®] | 2024-03-01 |  |  | – 2025-02-11 |  |  | Tech Room main area, Ceiling | Basement | 54 ± 6 Bq/m³ | Pass | CEC
104 087 515 |  | [Radtrak³®] | 2024-03-01 |  |  | – 2025-02-11 |  |  | Tech Room stores, Ceiling | Basement | 77 ± 10 Bq/m³ | Pass | CEC
104 793 336 |  | [Radtrak³®] | 2024-03-01 |  |  | – 2025-02-11 |  |  | Oﬃce, Ceiling | First ﬂoor | 25 ± 4 Bq/m³ | Pass | CEC
102 522 240 |  | [Radtrak³®] | 2024-03-01 |  |  | – 2025-02-11 |  |  | Wildﬂower, Ceiling | Basement | 55 ± 8 Bq/m³ | Pass | CEC
101 237 840 |  | [Radtrak³®] | 2024-03-01 |  |  | – 2025-02-11 |  |  | Resource Room, Cabinet | Basement | 61 ± 8 Bq/m³ | Pass | CEC
104 179 981 |  | [Radtrak³®] | 2024-03-01 |  |  | – 2025-02-11 |  |  | Room 4, Ceiling | First ﬂoor | 26 ± 4 Bq/m³ | Pass | CEC
104 095 898 |  | [Radtrak³®] | 2024-02-29 |  |  | – 2025-02-11 |  |  | 113, Cabinet by Door | First ﬂoor | 25 ± 4 Bq/m³ | Pass | CEC
NOTE: RES test 100687425 had a data entry mistake that resulted in an incorrect result.